## Sheet1
PORTABLE APPLIANCE TEST CERTIFICATE | [7 empty] | RD TESTING
Name: |  | REECE DOWD |  | Contact Num: | 7472324071 |  | Date Of Test: |  | 2020-01-10
Test Site Address |  | 29 Brean Avenue, Yardley, Solihull, B26 1JS |  |  |  |  | Next Test Date: |  | 2021-01-10
[7 empty] | Engineer: |  | Reece Dowd
Tester Manufacturer: SEAWARD |  |  |  | Model: 347A910 | Serial No: N/A |  | Date Calibrated: |  | N/A
Apliance No: | Description: |  | Location: | Manufacturer: | Serial Model: | Class (1,2,3) | Visual (Pass / Fail) | Fuse (Amps) | Test Type (26A, 8A, 100mA) | Earth Bond | Ins | Flash | Load / Leak | Comments | Pass | Fail
1 | Speaker |  | Mobile | RCF | N/A | 1 | PASS | 13 | 26A | 0.04 | >20 | N/A | N/A | GOOD | PASS
2 | Speaker |  | Mobile | RCF | N/A | 1 | PASS | 13 | 26A | 0.04 | >20 | N/A | 0.07 | GOOD | PASS
3 | Moving Head (Lights) |  | Mobile | Equinox | N/A | 1 | PASS | 13 | 26A | 0.06 | >20 | N/A | 0.06 | GOOD | PASS
4 | Moving Head (Lights) |  | Mobile | Equinox | N/A | 1 | PASS | 13 | 26A | 0.05 | >20 | N/A | N/A | GOOD | PASS
5 | Starlit Back Drop |  | Mobile | LEDJ | N/A | 1 | PASS | 13 | 26A | 0.04 | >20 | N/A | 0.07 | GOOD | PASS
6 | Midi Controller |  | Mobile | Pioneer | N/A | 1 | PASS | 13 | 26A | 0.06 | >20 | N/A | 0.08 | GOOD | PASS
7 | Wireless Microphone |  | Mobile | Audio Technica | N/A | 1 | PASS | 13 | 26A | 0.05 | >20 | N/A | 0.06 | GOOD | PASS
8 | Smoke Machine |  | Mobile | Chauvet DJ | N/A | 1 | PASS | 13 | 26A | 0.05 | >20 | N/A | 0.07 | GOOD | PASS
9 | Laptop |  | Mobile | Apple | N/A | 1 | PASS | 3 | N/A | N/A | >20 | N/A | N/A | GOOD | PASS
10 | Bubble Machine |  | Mobile | American DJ | N/A | 1 | PASS | 13 | 26A | 0.06 | >20 | N/A | 0.07 | GOOD | PASS
11 | Bubble Machine |  | Mobile | Chauvet DJ | N/A | 1 | PASS | 13 | 26A | 0.04 | >20 | N/A | 0.06 | GOOD | PASS
12 | Bouncy Castle Blower |  | Mobile | Gibbons | N/A | 1 | PASS | 13 | 26A | 0.06 | >20 | N/A | 0.07 | GOOD | PASS
13 | Bouncy Castle Blower |  | Mobile | Gibbons | N/A | 1 | PASS | 13 | 26A | 0.04 | >20 | N/A | 0.06 | GOOD | PASS
14 | Foam Machine |  | Mobile | Master Blaster | N/A | 1 | PASS | 13 | 26A | 0.05 | >20 | N/A | 0.06 | GOOD | PASS
15 | Snow Machine |  | Mobile | Commercial | 1111 | 1 | PASS | 13 | 26A | 0.06 | >20 | N/A | 0.07 | GOOD | PASS
16 | Snow Machine |  | Mobile | Commercial | 1112 | 1 | PASS | 13 | 26A | 0.04 | >20 | N/A | 0.05 | GOOD | PASS
17 | Confetti Cannon |  | Mobile | Commercial | 1111 | 2 | PASS | 13 | 26A | 0.05 | >20 | N/A | 0.06 | GOOD | PASS
18 | Confetti Cannon |  | Mobile | Commercial | 1112 | 3 | PASS | 13 | 26A | 0.05 | >20 | N/A | 0.06 | GOOD | PASS
19 | Photo Printer |  | Mobile | Mitsubishi | N/A | 4 | PASS | 3 | N/A | N/A | >20 | N/A | N/A | GOOD | PASS
20 | Touch Screen |  | Mobile | Photobooth.co.uk | N/A | 5 | PASS | 3 | N/A | N/A | >20 | N/A | N/A | GOOD | PASS
21 | Portable Hard Drive |  | Mobile | Photobooth.co.uk | N/A | 6 | PASS | 3 | N/A | N/A | >20 | N/A | N/A | GOOD | PASS
22 | Photo Booth Lights |  | Mobile | B&Q | N/A | 7 | PASS | 3 | N/A | N/A | >20 | N/A | N/A | GOOD | PASS
23 | 42 INCH TV |  | Mobile | SAMSUNG | N/A | 2 | PASS | 13 | 26A | 0.05 | >20 | N/A | 0.06 | GOOD | PASS
24 | 42 INCH TV |  | Mobile | SAMSUNG | N/A | 3 | PASS | 13 | 26A | 0.05 | >20 | N/A | 0.06 | GOOD | PASS
25 | 16FT STARLIT DANCE FLOOR |  | Mobile | PROLIGHT | N/A | 7 | PASS | 13 | 26A | 0.05 | >20 | N/A | 0.06 | GOOD | PASS
26 | DRY ICE MACHINE |  | Mobile | CHAUVET | N/A | 2 | PASS | 13 | 26A | 0.05 | >20 | N/A | 0.06 | GOOD